## AVERAGED DATA
York River Anchor Station at Claybank YR141204
LISST 1239
Station | Desc. | month | day | year | Time | Lat | Long | tide | Distance along | Water | Sample | Sample |  | Suspended Particulate Matter >0.7 microns | [8 empty] | CHLA Analysis |  | YSI6600 CTD | [14 empty] | LISST Volume Distribution uL/L | [40 empty] | LISST Area Distribution cm2/L | [37 empty] | ADCP | Burst Average ADV -NORTEK V21968 | [37 empty] | Burst Average ADV -Sontek B338 | [37 empty] | LICOR |  | TRIOS |  | UV Spectrophotometer
[5 empty] | (EST) |  |  |  | York (km) | depth | depth | ID | "SPM"<0.7 microns | TSS<60 | FSS<60 | VSS<60 | TSS>60 | FSS>60 | VSS>60 | TSS | FSS | VSS | CHLA | PHEO | Start time |  |  | End Time |  |  | Pressure | Temp | Cond | Salinity | Turbidity | Resistivity | TDS | n | press | bin1 | bin2 | bin3 | bin4 | bin5 | bin6 | bin7 | bin8 | bin9 | bin10 | bin11 | bin12 | bin13 | bin14 | bin15 | bin16 | bin17 | bin18 | bin19 | bin20 | bin21 | bin22 | bin23 | bin24 | bin25 | bin26 | bin27 | bin28 | bin29 | bin30 | bin31 | bin32 | Transmission | Raw OBS | temp | vol<60 | vol>60 | total volume | D16 by volume | D50 by volume | D84 by volume | bin1 | bin2 | bin3 | bin4 | bin5 | bin6 | bin7 | bin8 | bin9 | bin10 | bin11 | bin12 | bin13 | bin14 | bin15 | bin16 | bin17 | bin18 | bin19 | bin20 | bin21 | bin22 | bin23 | bin24 | bin25 | bin26 | bin27 | bin28 | bin29 | bin30 | bin31 | bin32 | Total Surface area concentration | D50 by area | beam attenuation-c | n | scatteringer (b) | absorbtion (a) | backscatter | u | v | w | iu | iv | iw | pg_u | pg_v | pg_w | heading | pitch | roll | temp | pressure | compass | upr2 | uvpr | uwpr | vpr2 | vwpr | wpr2 | C | Cupr | Cvpr | Cwpr | b1 | b2 | n | Ustd | Vstd | Wstd | Ws (TSS min=20) | uw2 | stress_obs | TKE | stress_tke | min C of burst | Ws All | u | v | w | iu | iv | iw | pg_u | pg_v | pg_w | heading | pitch | roll | temp | pressure | compass | upr2 | uvpr | uwpr | vpr2 | vwpr | wpr2 | C | Cupr | Cvpr | Cwpr | b1 | b2 | n | Ustd | Vstd | Wstd | Ws (TSS min=10) | uw2 | stress_obs | TKE | stress_tke | min C of burst | Ws All | Kd | Kd Std Error | Kd | Kd Std Error | CDOM-a440 | Std Error CDOM-a440
[10 empty] | m | m |  | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | ug/L | Hr | min | sec | hr | min | sec | m | C | uS/cm | PPT | ntu | Ohm.cm | g/L |  | m | 2.7 um | 3.2 um | 3.8 um | 4.5 um | 5.3 um | 6.2 um | 7.3 um | 8.7 um | 10.2 um | 12.1 um | 14.2 um | 16.8 um | 19.8 um | 23.4 um | 27.6 um | 32.5 um | 38.4 um | 45.3 um | 53.5 um | 63.1 um | 74.5 um | 87.9 um | 104.0 um | 122.0 um | 144.0 um | 170.0 um | 201.0 um | 237.0 um | 280.0 um | 331.0 um | 390.0 um | 460.0 um |  |  |  | (uL/L) | (uL/L) | (ul/L) | um | um | um | 2.7 um | 3.2 um | 3.8 um | 4.5 um | 5.3 um | 6.2 um | 7.3 um | 8.7 um | 10.2 um | 12.1 um | 14.2 um | 16.8 um | 19.8 um | 23.4 um | 27.6 um | 32.5 um | 38.4 um | 45.3 um | 53.5 um | 63.1 um | 74.5 um | 87.9 um | 104.0 um | 122.0 um | 144.0 um | 170.0 um | 201.0 um | 237.0 um | 280.0 um | 331.0 um | 390.0 um | 460.0 um | cm2/L | microns | m^-1 |  | m^-1 | m^-1 | counts | cm/s | cm/s | cm/s | count | count | count | % | % | % | degree | degree | degree | deg C | dbar | heading | cm2/s2 | cm2/s2 | cm2/s2 | cm2/s2 | cm2/s2 | cm2/s2 | mg/L | [6 empty] | cm/s | cm/s | cm/s | mm/s | cm2/s2 | Pa | cm2/s2 | Pa | mg/L | mm/s | cm/s | cm/s | cm/s | count | count | count | % | % | % | degree | degree | degree | deg C | counts | heading | cm2/s2 | cm2/s2 | cm2/s2 | cm2/s2 | cm2/s2 | cm2/s2 | mg/L | [6 empty] | cm/s | cm/s | cm/s | mm/s | cm2/s2 | Pa | cm2/s2 | Pa | mg/L | mm/s | m^-1 | m^-1 | m^-1 | m^-1 | m^-1 | m^-1
[9 empty] | (from Tue Marshes) | (from | (from CTD) |  | (on 0.2 membrane filter) | [6 empty] | MIN | [18 empty] | 10 | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | uL/L | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | cm2/L | 84 | 85 | 86 | 87 | 88 | 89 | [16 empty] | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | [15 empty] | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38
[10 empty] | ADCP) | [6 empty] | *** At or below Detection Limit |  |  | 19.3 | [99 empty] | (rotated- mean)
5481 | profile | 12 | 4 | 2014 | 1042 | 20.421 | 37.4784 | Ebb | 30 | 6.26 | 6.11 | B5481 |  | 28 | 22.7 | 5.3 | 2.2 | *** | *** | 30.2 | 22.7 | 7.5 |  |  | 10 | 44 | 24 | 10 | 48 | 22 | 6.1106 | 9.2841 | 24002.6276 | 21.4387 | 11.077 | 41.6941 | 22.2944 | 239 | 5.8176 | 1.26 | 1.18 | 1.15 | 1.15 | 1.27 | 1.51 | 1.75 | 1.94 | 2.33 | 2.67 | 2.82 | 3.03 | 3.26 | 3.89 | 4.33 | 4.64 | 5 | 5.59 | 6.03 | 6.63 | 7.19 | 7.72 | 8 | 8 | 8.19 | 8.34 | 8.63 | 8.24 | 7.17 | 6.43 | 6.46 | 6.58 | 0.49 | -6.656e-05 | 9.43 | 54.81 | 97.57 | 152.37 | 20.55 | 96.93 | 267.52 | 6.97 | 5.54 | 4.54 | 3.88 | 3.61 | 3.65 | 3.58 | 3.36 | 3.43 | 3.33 | 2.97 | 2.71 | 2.47 | 2.5 | 2.35 | 2.14 | 1.95 | 1.85 | 1.69 | 1.58 | 1.45 | 1.32 | 1.16 | 0.98 | 0.85 | 0.73 | 0.64 | 0.52 | 0.38 | 0.29 | 0.25 | 0.21 | 72.87 | 10.02 | 14.5 | 42 | 12.3 | 2.2 |  | 17.3806 | -3.0945e-14 | 3.4855e-16 | 133.2187 | 133.0321 | 131.0443 | 98.1492 | 98.0649 | 97.4339 | 0 | 0 | 0 | 8.6704 | 6.6655 | 294.0943 | 4.6311 | 0.37184 | -0.043042 | 3.9499 | 0.16692 | 0.9495 | 38.6333 | -2.2996 | -0.49951 | 0.71753 | -2.273 | 0.0447 | 2775 | 2.1768 | 2.0002 | 0.97859 | 0.38508 | 0.043042 | 0.0043472 | 4.7653 | 0.096258 | 25.5337 | 0.18573 | 16.7565 | 4.1497e-15 | 1.5314e-15 | 131.2395 | 128.4669 | 128.6511 | 84.4611 | 95.7899 | 88.5751 | 310.7621 | -3.1377 | 4.3614 | 9.0952 | 10724.7622 | 290.9467 | 9.2995 | 1.2713 | -0.066442 | 5.9252 | 0.5302 | 0.85568 | 32.844 | -3.6507 | 0.0017877 | 0.56379 | -0.877 | 0.0337 | 1737 | 3.0516 | 2.4505 | 0.92883 | 0.43896 | 0.066442 | 0.0067106 | 8.0402 | 0.16241 | 23.471 | 0.17166
[11 empty] | 4.72 | M5481 |  | 19.3 | 14.7 | 4.7 | *** | *** | *** | 19.3 | 14.7 | 4.6 |  |  | 10 | 48 | 41 | 10 | 52 | 25 | 4.7418 | 9.2778 | 23966.2622 | 21.4084 | 9.0084 | 41.7044 | 22.2639 | 225 | 4.4971 | 0.96 | 0.87 | 0.79 | 0.76 | 0.81 | 0.99 | 1.18 | 1.3 | 1.54 | 1.77 | 1.85 | 1.98 | 2.09 | 2.39 | 2.57 | 2.65 | 2.77 | 2.96 | 3.07 | 3.24 | 3.41 | 3.59 | 3.63 | 3.52 | 3.54 | 3.63 | 3.79 | 3.81 | 3.44 | 3.1 | 2.85 | 2.91 | 0.61 | -6.3311e-05 | 9.48 | 33.29 | 44.46 | 77.75 | 15 | 77.1 | 252.13 | 5.32 | 4.06 | 3.15 | 2.54 | 2.31 | 2.39 | 2.41 | 2.25 | 2.26 | 2.2 | 1.95 | 1.77 | 1.59 | 1.54 | 1.4 | 1.22 | 1.08 | 0.98 | 0.86 | 0.77 | 0.69 | 0.61 | 0.53 | 0.43 | 0.37 | 0.32 | 0.28 | 0.24 | 0.18 | 0.14 | 0.11 | 0.09 | 46.02 | 8.49 | 9.89 | 28 | 7.59 | 2.3 |  | 24.6385 | 4.5554e-14 | -3.619e-16 | 127.4537 | 127.6313 | 125.8221 | 98.0376 | 97.3555 | 96.9154 | 0 | 0 | 0 | 9.146 | 5.2459 | 300.6522 | 11.3705 | 0.025684 | -9.6855 | 10.0796 | -2.6246 | 22.2417 | 30.2047 | -0.94688 | -0.67621 | 0.81462 | -2.273 | 0.0447 | 2872 | 3.3739 | 3.2586 | 4.7196 | 0.79828 | 9.6855 | 0.97823 | 21.8459 | 0.44129 | 21.0374 | 0.2697 | 23.199 | -9.0725e-15 | -1.4823e-15 | 123.8588 | 121.3922 | 121.3922 | 91.3931 | 91.5048 | 93.0673 | 309.2793 | 9.6351 | 1.1133 | 9.2079 | 8847.4427 | 300.6503 | 12.9961 | -0.15563 | -14.7396 | 10.2764 | -0.88414 | 37.1214 | 25.6911 | -0.80943 | -0.52083 | 0.17643 | -0.877 | 0.0337 | 2096 | 3.6149 | 3.3745 | 6.0944 | 0.31002 | 14.7396 | 1.4887 | 30.1969 | 0.60998 | 18.3317 | 0.068675
[11 empty] | 2.58 | T5481 |  | 21 | 17 | 4 | *** | *** | *** | 21 | 17 | 4 | 10.86 | 2.4 | 10 | 53 | 2 | 10 | 55 | 46 | 2.5794 | 9.2204 | 23793.497 | 21.2719 | 7.3097 | 42.0212 | 22.1369 | 165 | 2.31 | 0.87 | 0.76 | 0.66 | 0.61 | 0.64 | 0.8 | 0.98 | 1.08 | 1.28 | 1.48 | 1.55 | 1.67 | 1.76 | 1.99 | 2.13 | 2.19 | 2.25 | 2.33 | 2.3 | 2.3 | 2.26 | 2.2 | 2.04 | 1.83 | 1.76 | 1.77 | 1.82 | 1.76 | 1.48 | 1.2 | 1.02 | 0.95 | 0.66 | -6.6463e-05 | 9.49 | 27.33 | 22.39 | 49.72 | 11.46 | 49.17 | 186.5 | 4.83 | 3.56 | 2.63 | 2.04 | 1.82 | 1.93 | 2 | 1.87 | 1.88 | 1.84 | 1.63 | 1.49 | 1.33 | 1.28 | 1.16 | 1.01 | 0.88 | 0.77 | 0.65 | 0.55 | 0.46 | 0.38 | 0.3 | 0.22 | 0.18 | 0.16 | 0.14 | 0.11 | 0.08 | 0.05 | 0.04 | 0.03 | 37.28 | 7.87 | 8.24 | 32 | 6.08 | 2.17 |  | 33.244 | -3.9858e-15 | 7.0823e-15 | 121.7168 | 121.9009 | 120.3677 | 97.8204 | 96.4707 | 94.5124 | 0 | 0 | 0 | 9.5652 | 3.0363 | 293.528 | 3.4653 | -0.35947 | -1.5017 | 4.8026 | -0.36162 | 5.097 | 23.4406 | 0.13606 | -0.056987 | -0.24082 | -2.273 | 0.0447 | 1776 | 1.8828 | 2.5593 | 2.2706 | -0.69993 | 1.5017 | 0.15168 | 6.6824 | 0.13498 | 17.8571 | -0.10274 | 31.3162 | -3.9274e-15 | 7.709e-16 | 116.3867 | 113.0859 | 113.3854 | 88.4421 | 89.9414 | 96.9961 | 310.1573 | 8.4807 | 2.5384 | 9.2045 | 6114.2708 | 293.8345 | 4.9987 | 0.89727 | -2.1981 | 3.4745 | -2.1608 | 4.9877 | 19.664 | 0.025592 | -0.1699 | 0.031914 | -0.877 | 0.0337 | 1536 | 2.2358 | 1.933 | 2.2338 | -0.94988 | 2.1981 | 0.22201 | 6.7305 | 0.13596 | 14.3177 | 0.01623 | 1.7241 | 0.12925
5482 | bottom |  |  |  | 1057 | 20.422 | 37.4751 |  |  | 6.24 | 6.11 | B5482 |  | 53.3 | 45.6 | 7.8 | 2 | *** | *** | 55.3 | 45.6 | 9.7 |  |  | 10 | 59 | 10 | 11 | 7 | 3 | 6.0954 | 9.2651 | 23888.5675 | 21.3399 | 21.8614 | 41.8553 | 22.2002 | 474 | 5.7837 | 2.25 | 2.1 | 2.02 | 2.02 | 2.22 | 2.65 | 3.08 | 3.4 | 4.1 | 4.68 | 4.86 | 5.21 | 5.66 | 6.91 | 7.85 | 8.54 | 9.53 | 10.96 | 12.15 | 13.67 | 15.14 | 16.51 | 17.28 | 17.25 | 17.32 | 16.82 | 16.39 | 14.54 | 11.73 | 9.77 | 9.15 | 10.04 | 0.33 | -6.5416e-05 | 9.57 | 100.2 | 185.61 | 285.81 | 22.22 | 93.11 | 244.35 | 12.41 | 9.82 | 8.02 | 6.8 | 6.32 | 6.4 | 6.29 | 5.89 | 6.02 | 5.83 | 5.13 | 4.65 | 4.29 | 4.44 | 4.27 | 3.94 | 3.72 | 3.63 | 3.41 | 3.25 | 3.05 | 2.82 | 2.5 | 2.11 | 1.8 | 1.48 | 1.22 | 0.92 | 0.63 | 0.44 | 0.35 | 0.33 | 132.18 | 10.55 | 22.16 | 79 | NaN | NaN |  | 21.2333 | 1.2243e-14 | 1.9314e-15 | 142.7655 | 142.6888 | 140.3323 | 98.0933 | 98.2699 | 97.9866 | 0 | 0 | 0 | 9.8093 | 6.6603 | 282.1103 | 7.0609 | 0.38969 | -0.37373 | 4.1575 | -0.019388 | 1.1431 | 59.2952 | -7.4933 | 0.52263 | 2.0007 | -2.273 | 0.0447 | 5992 | 2.7032 | 2.079 | 1.0704 | 0.50914 | 0.37373 | 0.037747 | 6.1808 | 0.12485 | 30.5328 | 0.33741 | 21.1279 | -5.765e-15 | 1.2463e-15 | 143.6299 | 140.5935 | 140.4098 | 81.7072 | 96.2299 | 94.7504 | 320.3346 | -3.7143 | -0.45141 | 9.2315 | 10668.2963 | 276.9021 | 11.6908 | 0.88148 | -0.18175 | 3.3616 | 0.12541 | 1.0339 | 49.5431 | -7.8337 | 0.33957 | 1.3806 | -0.877 | 0.0337 | 4536 | 3.4856 | 1.8602 | 1.021 | 0.46731 | 0.18175 | 0.018357 | 8.0431 | 0.16247 | 30.0511 | 0.27866
5483 | profile |  |  |  | 1132 | 20.422 | 37.4744 |  |  | 6.08 | 5.92 | B5483 |  | 77.8 | 66.7 | 11.1 | 3.8 | *** | *** | 81.6 | 66.7 | 14.9 |  |  | 11 | 33 | 34 | 11 | 36 | 24 | 5.9165 | 9.2373 | 23673.2865 | 21.1457 | 31.2953 | 42.2304 | 22.0171 | 171 | 5.6589 | 4.21 | 3.68 | 3.27 | 3.03 | 3.21 | 3.96 | 4.75 | 5.2 | 6.3 | 7.3 | 7.48 | 8.07 | 8.8 | 10.82 | 12.42 | 13.52 | 15 | 17.22 | 19 | 21.19 | 23.09 | 24.54 | 24.85 | 23.72 | 22.56 | 20.48 | 18.84 | 15.8 | 11.87 | 9.11 | 8.28 | 9.29 | 0.23 | -6.486e-05 | 9.54 | 157.25 | 233.62 | 390.87 | 18.97 | 77.47 | 203.05 | 23.27 | 17.23 | 12.97 | 10.19 | 9.16 | 9.56 | 9.72 | 9.01 | 9.26 | 9.08 | 7.89 | 7.21 | 6.66 | 6.94 | 6.76 | 6.23 | 5.86 | 5.7 | 5.33 | 5.04 | 4.65 | 4.19 | 3.59 | 2.91 | 2.34 | 1.8 | 1.4 | 1 | 0.64 | 0.41 | 0.32 | 0.3 | 206.63 | 9.81 | 29.55 | 18 | NaN | NaN |  | 26.6299 | 5.5334e-15 | 1.1186e-16 | 151.165 | 151.0183 | 148.9374 | 97.8991 | 98.2923 | 98.1127 | 0 | 0 | 0 | 10.0653 | 6.4612 | 267.217 | 9.301 | 0.24774 | -0.97707 | 5.7715 | 0.26923 | 2.2917 | 86.0711 | -12.6943 | -0.49472 | 4.438 | -2.273 | 0.0447 | 1854 | 3.3911 | 2.4072 | 1.5162 | 0.6717 | 0.97707 | 0.098684 | 8.6821 | 0.17538 | 47.7415 | 0.51562 | 27.2183 | -2.4661e-15 | -4.162e-15 | 155.0432 | 151.8496 | 151.5266 | 86.3791 | 94.0971 | 95.0367 | 332.5086 | -1.7577 | 6.8588 | 9.2036 | 10474.4058 | 264.9439 | 12.3528 | -0.62919 | -0.98646 | 4.9433 | -0.0025779 | 1.7613 | 72.1831 | -10.7996 | 0.13985 | 3.3044 | -0.877 | 0.0337 | 1390 | 3.6051 | 2.2695 | 1.3315 | 0.63323 | 0.98646 | 0.099632 | 9.5287 | 0.19248 | 46.572 | 0.45778
[11 empty] | 4.24 | M5483 |  | 51.1 | 42.2 | 8.9 | 2 | *** | *** | 53.1 | 42.2 | 10.9 |  |  | 11 | 36 | 43 | 11 | 38 | 44 | 4.2375 | 9.2206 | 23596.4426 | 21.0792 | 21.1959 | 42.3902 | 21.9549 | 122 | 4.0112 | 2.4 | 2.16 | 1.98 | 1.89 | 2.04 | 2.51 | 3 | 3.34 | 4.09 | 4.76 | 4.95 | 5.35 | 5.84 | 7.15 | 8.07 | 8.59 | 9.21 | 10.11 | 10.5 | 10.88 | 10.91 | 10.64 | 9.84 | 8.62 | 7.78 | 7.01 | 6.66 | 5.8 | 4.36 | 3.42 | 3.2 | 3.65 | 0.36 | -6.9092e-05 | 9.56 | 97.94 | 92.75 | 190.69 | 14.16 | 55.54 | 169.46 | 13.25 | 10.09 | 7.83 | 6.36 | 5.82 | 6.06 | 6.14 | 5.78 | 6 | 5.92 | 5.22 | 4.78 | 4.42 | 4.59 | 4.39 | 3.96 | 3.6 | 3.35 | 2.94 | 2.59 | 2.2 | 1.82 | 1.42 | 1.06 | 0.81 | 0.62 | 0.5 | 0.37 | 0.23 | 0.16 | 0.12 | 0.12 | 122.51 | 9.38 | 20.63 | 17 | 20.53 | 0.1 |  | 41.0892 | 8.2001e-15 | -5.3086e-15 | 141.2943 | 141.2943 | 139.1577 | 97.7878 | 97.9093 | 97.4126 | 0 | 0 | 0 | 10.0794 | 4.753 | 259.3201 | 5.5813 | -0.66857 | -1.1488 | 6.281 | -0.2602 | 2.5577 | 55.7011 | -4.6847 | 0.59297 | 3.1656 | -2.273 | 0.0447 | 1522 | 2.3633 | 2.518 | 1.6109 | 0.88671 | 1.1488 | 0.11603 | 7.21 | 0.14564 | 35.9705 | 0.56833 | 40.4567 | -2.0954e-15 | -1.9584e-16 | 142.0481 | 139.1206 | 138.6556 | 87.4808 | 96.125 | 90.4397 | 331.5052 | 6.6787 | -3.9442 | 9.2049 | 8208.5035 | 257.6133 | 6.2688 | 0.21937 | -0.1919 | 10.189 | 3.076 | 13.4961 | 46.8632 | -2.1387 | -0.60107 | -1.8693 | -0.877 | 0.0337 | 1144 | 2.5072 | 3.2656 | 3.9298 | -0.69585 | 0.1919 | 0.019382 | 14.9769 | 0.30253 | 32.1464 | -0.39888
[11 empty] | 2.17 | T5483 |  | 27.3 | 22 | 5.3 | 0.00* | *** | *** | 27.3 | 22 | 5.3 | 15.87 | 2.12 | 11 | 39 | 19 | 11 | 42 | 15 | 2.1485 | 9.1615 | 22893.3503 | 20.4274 | 10.0503 | 43.6898 | 21.335 | 177 | 1.7657 | 1.8 | 1.47 | 1.18 | 1.01 | 1.06 | 1.39 | 1.78 | 1.95 | 2.36 | 2.77 | 2.75 | 2.86 | 2.89 | 3.15 | 3.21 | 3.02 | 2.82 | 2.61 | 2.27 | 1.98 | 1.74 | 1.58 | 1.43 | 1.29 | 1.35 | 1.59 | 2.03 | 2.51 | 2.67 | 2.91 | 3.44 | 4.33 | 0.54 | -6.6024e-05 | 9.56 | 42.35 | 28.85 | 71.21 | 9.16 | 44.46 | 246.01 | 9.96 | 6.9 | 4.7 | 3.41 | 3.02 | 3.35 | 3.64 | 3.37 | 3.47 | 3.45 | 2.91 | 2.56 | 2.19 | 2.02 | 1.74 | 1.39 | 1.1 | 0.86 | 0.64 | 0.47 | 0.35 | 0.27 | 0.21 | 0.16 | 0.14 | 0.14 | 0.15 | 0.16 | 0.14 | 0.13 | 0.13 | 0.14 | 63.27 | 6.84 | 12.39 | 30 | 9.99 | 2.4 |  | 61.1019 | 1.642e-15 | -7.5407e-16 | 122.3137 | 122.261 | 120.8942 | 97.0277 | 97.5752 | 96.9728 | 0 | 0 | 0 | 10.0913 | 2.6348 | 265.9981 | 5.3635 | -0.53423 | -1.7032 | 5.8932 | 0.34992 | 4.1539 | 24.0062 | -1.5642 | 0.4952 | -0.51252 | -2.273 | 0.0447 | 2241 | 2.5781 | 2.4283 | 2.0711 | -1.2793 | 1.7032 | 0.17202 | 7.7053 | 0.15565 | 18.3972 | -0.2135 | 57.5605 | 8.6356e-15 | 7.6554e-15 | 117.8973 | 114.637 | 114.7503 | 79.3926 | 95.0649 | 95.8365 | 332.7841 | 0.71635 | -4.039 | 9.17 | 5568.7178 | 265.3541 | 8.2374 | -0.5283 | -2.2781 | 4.0721 | 0.16793 | 3.8087 | 20.7119 | -0.86676 | 0.68973 | -0.49229 | -0.877 | 0.0337 | 1694 | 3.059 | 2.018 | 1.9729 | -6.9152 | 2.2781 | 0.23009 | 8.0591 | 0.16279 | 14.4795 | -0.23769 | 1.3873 | 0.029724
5484 | bottom |  |  |  | 1143 | 20.2223 | 37.4745 |  |  | 6.07 | 5.88 | B5484 |  | 72.2 | 63.3 | 8.9 | 5.8 | 5.08 | *** | 78 | 68.38 | 9.62 |  |  | 11 | 45 | 20 | 11 | 54 | 16 | 5.865 | 9.2172 | 23498.3594 | 20.9863 | 36.5263 | 42.5531 | 21.8662 | 537 | 5.6157 | 4.9 | 4.22 | 3.67 | 3.35 | 3.52 | 4.38 | 5.29 | 5.74 | 6.92 | 8.01 | 8.17 | 8.84 | 9.66 | 11.82 | 13.53 | 14.66 | 16.3 | 18.67 | 20.73 | 23.23 | 25.52 | 27.42 | 27.88 | 26.7 | 25.29 | 23 | 20.94 | 17.61 | 13.23 | 10.26 | 8.76 | 9.32 | 0.21 | -6.45e-05 | 9.59 | 172.39 | 259.16 | 431.54 | 18.91 | 78.18 | 201.24 | 27.08 | 19.75 | 14.57 | 11.25 | 10.03 | 10.56 | 10.83 | 9.96 | 10.16 | 9.97 | 8.61 | 7.9 | 7.32 | 7.59 | 7.36 | 6.75 | 6.37 | 6.18 | 5.81 | 5.52 | 5.14 | 4.68 | 4.03 | 3.27 | 2.63 | 2.02 | 1.56 | 1.11 | 0.71 | 0.47 | 0.34 | 0.3 | 229.84 | 9.55 | 31.59 | 75 | NaN | NaN |  | 30.8807 | -3.1328e-14 | -5.3595e-16 | 155.3884 | 155.2272 | 153.3657 | 97.6602 | 98.1929 | 98.125 | 0 | 0 | 0 | 10.0766 | 6.4002 | 276.4275 | 15.4309 | 0.63249 | -1.0529 | 7.1972 | 0.28677 | 2.9687 | 104.2248 | -18.5747 | -1.6328 | 5.1279 | -2.273 | 0.0447 | 7024 | 3.9365 | 2.6865 | 1.7235 | 0.60884 | 1.0529 | 0.10634 | 12.7984 | 0.25853 | 67.2556 | 0.49201 | 30.0509 | 7.2262e-15 | -4.6907e-15 | 162.6643 | 159.4799 | 159.1866 | 87.2699 | 96.6379 | 95.0961 | 326.8483 | -1.9076 | 10.9595 | 9.1986 | 10446.0628 | 273.1782 | 11.8257 | 0.86978 | 0.052224 | 5.6483 | 0.39146 | 2.0664 | 93.5889 | -13.8652 | -1.7683 | 3.2399 | -0.877 | 0.0337 | 5162 | 3.439 | 2.3819 | 1.4392 | 0.44027 | -0.052224 | -0.0052746 | 9.7702 | 0.19736 | 57.0085 | 0.34619
5485 | profile |  |  |  | 1231 | 20.2227 | 37.4723 |  |  | 5.88 | 5.7 | B5485 |  | 88 | 77.3 | 10.7 | 15 | 12.82 | 2.18 | 103 | 90.12 | 12.88 |  |  | 12 | 32 | 35 | 12 | 35 | 44 | 5.6992 | 9.12 | 22602.7632 | 20.1663 | 37.5547 | 44.2416 | 21.0881 | 190 | 5.4693 | 4.72 | 4 | 3.42 | 3.06 | 3.19 | 3.98 | 4.87 | 5.33 | 6.51 | 7.61 | 7.8 | 8.51 | 9.35 | 11.52 | 13.29 | 14.47 | 15.98 | 18.12 | 19.76 | 21.68 | 23.26 | 24.28 | 23.95 | 22.23 | 20.58 | 18.47 | 16.78 | 13.9 | 10.24 | 7.85 | 6.99 | 7.86 | 0.22 | -6.548e-05 | 9.47 | 165.5 | 218.08 | 383.58 | 17.69 | 70.67 | 188.18 | 26.05 | 18.73 | 13.57 | 10.29 | 9.08 | 9.61 | 9.96 | 9.24 | 9.55 | 9.47 | 8.23 | 7.6 | 7.08 | 7.4 | 7.23 | 6.67 | 6.24 | 6 | 5.54 | 5.15 | 4.68 | 4.14 | 3.46 | 2.72 | 2.14 | 1.63 | 1.25 | 0.88 | 0.55 | 0.36 | 0.27 | 0.26 | 215.06 | 9.57 | 30.71 | 29 | NaN | NaN |  | 36.8099 | 1.1842e-14 | -4.3748e-16 | 161.6245 | 161.3579 | 159.8929 | 97.4504 | 97.9819 | 97.6712 | 0 | 0 | 0 | 10.0271 | 6.2331 | 259.8605 | 15.4229 | 0.64576 | -0.84208 | 9.9316 | 0.3709 | 3.8817 | 137.8005 | -16.5767 | -3.0894 | 5.2693 | -2.273 | 0.0447 | 2269 | 4.0657 | 3.1731 | 1.9711 | 0.4473 | 0.84208 | 0.08505 | 14.6181 | 0.29529 | 102.0742 | 0.38238 | 35.2391 | -1.3418e-14 | 4.6864e-15 | 173.5565 | 170.418 | 170.008 | 86.765 | 93.0446 | 90.6674 | 341.5379 | -1.899 | 10.668 | 9.1176 | 10226.7416 | 257.3158 | 18.9617 | -0.48502 | -1.2877 | 9.7821 | 0.68499 | 3.6298 | 134.9855 | -32.0513 | 1.4302 | 11.0457 | -0.877 | 0.0337 | 1885 | 4.5175 | 3.1378 | 1.9072 | 0.96062 | 1.2877 | 0.13006 | 16.1868 | 0.32697 | 89.3475 | 0.81829
[11 empty] | 4.23 | M5485 |  | 74.4 | 64.4 | 10 | 12 | 10.7 | 1.3 | 86.4 | 75.1 | 11.3 |  |  | 12 | 35 | 55 | 12 | 37 | 27 | 4.2507 | 9.1103 | 22525.8065 | 20.0946 | 32.7849 | 44.3914 | 21.02 | 93 | 3.9386 | 4.41 | 3.7 | 3.12 | 2.76 | 2.89 | 3.67 | 4.56 | 5.02 | 6.2 | 7.33 | 7.5 | 8.13 | 8.86 | 10.83 | 12.28 | 12.96 | 13.77 | 15.03 | 15.6 | 16.25 | 16.43 | 16.09 | 14.84 | 12.82 | 11.24 | 9.77 | 8.85 | 7.32 | 5.17 | 3.77 | 3.35 | 3.77 | 0.25 | -6.8412e-05 | 9.56 | 148.61 | 129.68 | 278.29 | 13.39 | 52.72 | 151.88 | 24.35 | 17.32 | 12.37 | 9.29 | 8.23 | 8.85 | 9.32 | 8.71 | 9.11 | 9.12 | 7.91 | 7.27 | 6.71 | 6.95 | 6.68 | 5.97 | 5.38 | 4.97 | 4.37 | 3.86 | 3.31 | 2.75 | 2.15 | 1.57 | 1.17 | 0.86 | 0.66 | 0.46 | 0.28 | 0.17 | 0.13 | 0.12 | 190.36 | 8.87 | 27.91 | 28 | NaN | NaN |  | 48.5668 | 1.6226e-14 | 2.9259e-15 | 157.3383 | 157.2167 | 155.4326 | 97.4185 | 97.7137 | 97.3383 | 0 | 0 | 0 | 10.0157 | 4.7722 | 260.2132 | 9.6768 | -0.45751 | -2.234 | 16.0911 | -2.5723 | 5.7953 | 113.6329 | -3.5584 | 0.25964 | 3.9659 | -2.273 | 0.0447 | 1135 | 3.1451 | 4.1208 | 2.4347 | 0.42356 | 2.234 | 0.22563 | 15.7816 | 0.31879 | 87.944 | 0.34901 | 46.8688 | 2.6932e-16 | -8.4314e-15 | 165.0477 | 162.551 | 161.4877 | 86.7561 | 95.5303 | 92.3729 | 339.785 | 4.4514 | -4.5345 | 9.1044 | 8202.6323 | 259.9523 | 6.9 | -0.35555 | -0.16824 | 10.372 | -0.75472 | 4.9036 | 101.7231 | -1.899 | 3.2293 | 4.2922 | -0.877 | 0.0337 | 775 | 2.627 | 3.2411 | 2.2415 | 0.52521 | 0.16824 | 0.016992 | 11.0878 | 0.22397 | 72.1755 | 0.42195
[11 empty] | 2.44 | T5485 |  | 84.4 | 73.3 | 11.1 | 4 | *** | *** | 88.4 | 73.3 | 15.1 | 16.88 | 5.69 | 12 | 37 | 47 | 12 | 40 | 42 | 2.4427 | 9.1117 | 22462.5143 | 20.0337 | 27.6331 | 44.5063 | 20.9612 | 175 | 2.0704 | 3.94 | 3.31 | 2.78 | 2.47 | 2.6 | 3.31 | 4.13 | 4.57 | 5.65 | 6.67 | 6.82 | 7.37 | 7.99 | 9.68 | 10.84 | 11.24 | 11.74 | 12.5 | 12.63 | 12.72 | 12.38 | 11.68 | 10.3 | 8.5 | 7.18 | 6.14 | 5.48 | 4.48 | 3.07 | 2.26 | 2.06 | 2.45 | 0.28 | -4.9931e-05 | 9.56 | 130.23 | 88.71 | 218.94 | 11.78 | 44.3 | 128.55 | 21.74 | 15.48 | 11.04 | 8.3 | 7.39 | 8 | 8.45 | 7.92 | 8.29 | 8.31 | 7.19 | 6.58 | 6.05 | 6.22 | 5.9 | 5.18 | 4.58 | 4.14 | 3.54 | 3.02 | 2.49 | 1.99 | 1.49 | 1.04 | 0.75 | 0.54 | 0.41 | 0.28 | 0.16 | 0.1 | 0.08 | 0.08 | 166.75 | 8.51 | 25.36 | 27 | NaN | NaN |  | 57.289 | 5.7257e-15 | -2.7676e-16 | 152.901 | 152.9091 | 150.9562 | 97.1603 | 97.6351 | 97.2593 | 0 | 0 | 0 | 10.0064 | 2.9334 | 265.2282 | 9.1846 | -0.64232 | -2.272 | 14.2264 | -0.60366 | 4.23 | 93.5934 | -11.0876 | 1.4001 | 5.6028 | -2.273 | 0.0447 | 2102 | 3.0329 | 3.7929 | 2.0897 | 0.76133 | 2.272 | 0.22948 | 13.8205 | 0.27917 | 62.4271 | 0.59864 | 53.7091 | -1.3571e-14 | 1.5367e-14 | 158.2666 | 155.2623 | 154.5971 | 81.8759 | 95.4724 | 94.7709 | 337.3075 | 2.0204 | -4.0531 | 9.1011 | 5941.1695 | 264.2372 | 10.9008 | -0.25194 | -2.4441 | 11.4383 | 0.23415 | 4.0761 | 80.5993 | -9.6174 | 3.017 | 4.6302 | -0.877 | 0.0337 | 1628 | 3.314 | 3.4072 | 2.0334 | 0.76406 | 2.4441 | 0.24685 | 13.2076 | 0.26679 | 54.5036 | 0.57447 | 3.1436 | 0.173
5486 | bottom |  |  |  | 1242 | 20.4232 | 37.4721 |  |  | 5.84 | 5.68 | B5486 |  | 94.7 | 82.7 | 12 | 16.8 | 14.48 | 2.32 | 111.5 | 97.18 | 14.32 |  |  | 12 | 43 | 21 | 12 | 53 | 12 | 5.6692 | 9.0939 | 22398.603 | 19.9817 | 47.4502 | 44.6443 | 20.9126 | 592 | 5.3964 | 8.28 | 6.61 | 5.24 | 4.37 | 4.42 | 5.69 | 7.21 | 7.8 | 9.52 | 11.25 | 11.36 | 12.43 | 13.65 | 16.77 | 19.41 | 21.12 | 23.24 | 26.23 | 28.39 | 30.78 | 32.58 | 33.34 | 32.28 | 29.18 | 26.27 | 22.81 | 20.22 | 16.34 | 11.75 | 8.81 | 7.81 | 8.75 | 0.15 | -6.5777e-05 | 9.57 | 243 | 280.91 | 523.92 | 16.01 | 64.6 | 172.03 | 45.73 | 30.93 | 20.78 | 14.69 | 12.6 | 13.74 | 14.75 | 13.52 | 13.98 | 14 | 11.98 | 11.11 | 10.34 | 10.76 | 10.56 | 9.74 | 9.08 | 8.68 | 7.96 | 7.31 | 6.56 | 5.69 | 4.67 | 3.58 | 2.73 | 2.01 | 1.51 | 1.03 | 0.63 | 0.4 | 0.3 | 0.29 | 321.62 | 8.8 | 38.15 | 90 | NaN | NaN |  | 37.1841 | 4.5854e-15 | -4.2915e-16 | 162.8829 | 162.6633 | 161.171 | 97.4528 | 97.896 | 97.7849 | 0 | 0 | 0 | 9.9912 | 6.2027 | 267.9689 | 23.7505 | 1.3261 | -1.8278 | 9.9212 | 0.41848 | 3.9839 | 145.889 | -28.2134 | -3.9042 | 6.4727 | -2.273 | 0.0447 | 7549 | 4.8821 | 3.1551 | 1.9977 | 0.51416 | 1.8278 | 0.18461 | 18.8279 | 0.38032 | 102.0742 | 0.44367 | 36.3572 | 3.1747e-15 | -7.0733e-15 | 174.9835 | 172.0531 | 171.4644 | 86.8682 | 93.1291 | 91.8135 | 336.6802 | -0.87945 | 7.3304 | 9.085 | 10141.6621 | 265.7051 | 16.9559 | -0.030273 | -0.45517 | 9.3313 | 0.14829 | 3.1733 | 141.7461 | -22.6401 | 1.7207 | 5.4681 | -0.877 | 0.0337 | 5523 | 4.1311 | 3.0566 | 1.782 | 0.44914 | 0.45517 | 0.045972 | 14.7303 | 0.29755 | 92.4098 | 0.38577
5487 | profile |  |  |  | 1330 | 20.4241 | 37.4725 |  |  | 5.77 | 5.58 | B5487 |  | 106.65 | 92.65 | 14 | 18.1 | 15.66 | 2.44 | 124.75 | 108.31 | 16.44 |  |  | 13 | 31 | 47 | 13 | 33 | 44 | 5.5801 | 9.02 | 21817.5 | 19.4547 | 42.0915 | 45.8 | 20.4107 | 118 | 5.32 | 4.85 | 4.17 | 3.62 | 3.28 | 3.42 | 4.22 | 5.1 | 5.57 | 6.75 | 7.86 | 8.05 | 8.76 | 9.63 | 11.88 | 13.8 | 15.29 | 17.27 | 20.05 | 22.51 | 25.47 | 28.49 | 31.42 | 33.4 | 33.6 | 33.44 | 31.29 | 29.23 | 24.7 | 19.06 | 15.08 | 13.12 | 13.44 | 0.19 | -6.3072e-05 | 9.41 | 176.08 | 331.73 | 507.81 | 23.46 | 91.92 | 225.02 | 26.78 | 19.5 | 14.37 | 11.04 | 9.75 | 10.18 | 10.43 | 9.65 | 9.92 | 9.78 | 8.49 | 7.83 | 7.29 | 7.62 | 7.5 | 7.05 | 6.75 | 6.64 | 6.31 | 6.05 | 5.74 | 5.36 | 4.83 | 4.12 | 3.47 | 2.75 | 2.18 | 1.56 | 1.02 | 0.68 | 0.5 | 0.44 | 235.6 | 10.44 | 32.83 | 29 | NaN | NaN |  | 33.5882 | 8.9102e-15 | 4.4364e-15 | 162.1836 | 161.9826 | 160.4039 | 97.4887 | 98.0614 | 97.996 | 0 | 0 | 0 | 9.9235 | 6.117 | 275.8413 | 14.5574 | 1.4852 | -0.35282 | 8.546 | 0.13591 | 3.4678 | 141.2245 | -20.8063 | -3.7324 | 3.2287 | -2.273 | 0.0447 | 1498 | 3.901 | 3.07 | 1.8641 | 0.26634 | 0.35282 | 0.035634 | 13.2856 | 0.26837 | 105.1618 | 0.22862 | 32.1693 | -4.918e-15 | 1.3856e-14 | 173.8127 | 170.8635 | 170.4553 | 87.2667 | 94.6712 | 93.036 | 327.6649 | -2.4223 | 4.1907 | 9.0195 | 10036.9032 | 272.6626 | 9.819 | -0.43034 | 0.69203 | 7.6936 | 0.49728 | 3.1462 | 136.2373 | -10.0367 | 0.86475 | 5.6448 | -0.877 | 0.0337 | 806 | 3.1475 | 2.9448 | 1.7741 | 0.48563 | -0.69203 | -0.069895 | 10.3294 | 0.20865 | 98.8529 | 0.41434
[11 empty] | 3.89 | M5487 |  | 73.3 | 63.3 | 10 | 9 | 8.21 | *** | 82.3 | 71.51 | 10.79 |  |  | 13 | 34 | 17 | 13 | 36 | 16 | 3.8946 | 9.02 | 21808.0667 | 19.4477 | 28.0067 | 45.8783 | 20.4023 | 120 | 3.649 | 2.79 | 2.44 | 2.17 | 2.02 | 2.14 | 2.64 | 3.19 | 3.54 | 4.35 | 5.1 | 5.25 | 5.65 | 6.12 | 7.43 | 8.41 | 9 | 9.74 | 10.79 | 11.49 | 12.37 | 13.08 | 13.62 | 13.58 | 12.86 | 12.35 | 11.65 | 11.28 | 9.94 | 7.62 | 5.94 | 5.37 | 5.96 | 0.32 | -7.5742e-05 | 9.47 | 104.25 | 135.63 | 239.88 | 16.82 | 71.74 | 207.05 | 15.39 | 11.43 | 8.61 | 6.77 | 6.1 | 6.38 | 6.53 | 6.13 | 6.39 | 6.35 | 5.54 | 5.05 | 4.64 | 4.77 | 4.57 | 4.15 | 3.8 | 3.57 | 3.22 | 2.94 | 2.63 | 2.32 | 1.96 | 1.58 | 1.28 | 1.03 | 0.84 | 0.63 | 0.41 | 0.27 | 0.21 | 0.19 | 135.68 | 9.54 | 22.68 | 21 | NaN | NaN |  | 43.0768 | 1.1514e-14 | 3.9695e-15 | 156.3938 | 156.1859 | 154.4749 | 97.6558 | 97.5735 | 97.3989 | 0 | 0 | 0 | 9.9168 | 4.3975 | 263.8359 | 8.3565 | -0.91847 | -4.4447 | 10.5713 | -0.6726 | 11.2414 | 108.8901 | -7.3277 | 2.0645 | 3.2379 | -2.273 | 0.0447 | 1775 | 2.9037 | 3.3492 | 3.3531 | 0.36426 | 4.4447 | 0.44891 | 15.0846 | 0.30471 | 79.2336 | 0.29736 | 42.0553 | 1.9574e-14 | -3.2541e-16 | 163.7885 | 160.8404 | 160.213 | 87.5066 | 93.9032 | 91.3013 | 337.4796 | 6.3412 | -3.0015 | 9.0151 | 7762.8753 | 262.5987 | 6.9142 | -0.14271 | -2.0359 | 9.8235 | 0.94206 | 10.5574 | 97.0659 | -6.2366 | 2.7287 | 4.7768 | -0.877 | 0.0337 | 1291 | 2.6528 | 3.2287 | 3.2532 | 0.61984 | 2.0359 | 0.20563 | 13.6475 | 0.27568 | 66.7175 | 0.49212
[11 empty] | 2.04 | T5487 |  | 42 | 34.7 | 7.3 | 4.4 | *** | *** | 46.4 | 34.7 | 11.7 | 17.56 | 3.89 | 13 | 36 | 48 | 13 | 40 | 0 | 2.0367 | 9.029 | 21790.4197 | 19.425 | 19.9321 | 45.9 | 20.382 | 193 | 1.718 | 2.23 | 1.94 | 1.71 | 1.58 | 1.68 | 2.09 | 2.55 | 2.83 | 3.48 | 4.09 | 4.21 | 4.49 | 4.82 | 5.75 | 6.4 | 6.73 | 7.14 | 7.72 | 8.01 | 8.37 | 8.62 | 8.77 | 8.54 | 7.88 | 7.49 | 7.15 | 7.04 | 6.33 | 4.9 | 3.87 | 3.51 | 3.81 | 0.39 | -6.4767e-05 | 9.46 | 79.45 | 86.28 | 165.73 | 14.39 | 62.12 | 194.99 | 12.31 | 9.09 | 6.79 | 5.3 | 4.77 | 5.03 | 5.21 | 4.91 | 5.11 | 5.09 | 4.44 | 4.02 | 3.65 | 3.69 | 3.48 | 3.1 | 2.79 | 2.56 | 2.25 | 1.99 | 1.74 | 1.5 | 1.23 | 0.97 | 0.78 | 0.63 | 0.53 | 0.4 | 0.26 | 0.18 | 0.13 | 0.12 | 104.04 | 8.98 | 18.69 | 40 | 17.29 | 1.4 |  | 48.7693 | -4.4273e-15 | 1.0249e-14 | 151.2045 | 151.0408 | 148.9716 | 97.4055 | 97.4485 | 97.3441 | 0 | 0 | 0 | 9.9111 | 2.5063 | 268.057 | 6.4307 | 0.8129 | -3.9818 | 7.6711 | -1.1781 | 9.817 | 86.3294 | -7.8377 | -4.2415 | 5.8231 | -2.273 | 0.0447 | 2328 | 2.5414 | 2.7995 | 3.1337 | 0.87791 | 3.9818 | 0.40217 | 11.9594 | 0.24158 | 54.5927 | 0.67452 | 46.0571 | -1.9024e-15 | 4.9502e-15 | 155.9733 | 152.9199 | 152.4525 | 87.0438 | 94.024 | 92.5475 | 333.3264 | 4.3938 | -2.214 | 9.0183 | 5432.7692 | 266.5994 | 5.5882 | 0.8632 | -1.3214 | 7.3687 | 0.36438 | 9.0648 | 74.7854 | -4.8121 | -4.3084 | 4.0197 | -0.877 | 0.0337 | 1872 | 2.3668 | 2.7165 | 3.0124 | 0.73372 | 1.3214 | 0.13346 | 11.0109 | 0.22242 | 44.0283 | 0.5375 | 2.4072 | 0.059412
5488 | bottom |  |  |  | 1341 | 20.4231 | 37.4733 |  |  | 5.75 | 5.54 | B5488 |  | 102.7 | 90.7 | 12 | 15.6 | 13.29 | 2.31 | 118.3 | 103.99 | 14.31 |  |  | 13 | 43 | 9 | 13 | 51 | 6 | 5.5425 | 9.02 | 21775.3389 | 19.4126 | 33.4389 | 45.9 | 20.3714 | 478 | 5.3566 | 3.07 | 2.74 | 2.48 | 2.34 | 2.49 | 3.02 | 3.59 | 3.96 | 4.81 | 5.55 | 5.7 | 6.1 | 6.6 | 8.02 | 9.15 | 10.02 | 11.19 | 12.9 | 14.41 | 16.39 | 18.45 | 20.6 | 22.32 | 23.1 | 24.02 | 23.97 | 24.1 | 21.98 | 18.36 | 15.45 | 14.1 | 14.2 | 0.27 | -6.4762e-05 | 9.47 | 118.15 | 257.04 | 375.19 | 25.18 | 105.96 | 261.81 | 16.98 | 12.81 | 9.85 | 7.88 | 7.09 | 7.29 | 7.34 | 6.86 | 7.06 | 6.91 | 6.01 | 5.45 | 5 | 5.15 | 4.98 | 4.62 | 4.37 | 4.27 | 4.04 | 3.89 | 3.72 | 3.52 | 3.23 | 2.83 | 2.49 | 2.11 | 1.8 | 1.39 | 0.98 | 0.7 | 0.54 | 0.46 | 161.63 | 10.52 | 26.08 | 70 | NaN | NaN |  | 31.4056 | 7.2481e-15 | 1.8084e-15 | 160.4378 | 160.0846 | 158.6171 | 97.7454 | 97.9849 | 97.8644 | 0 | 0 | 0 | 9.9141 | 6.0577 | 265.1762 | 14.068 | -0.6296 | -1.2308 | 7.5389 | 0.4405 | 2.8958 | 130.3145 | -15.7707 | 1.151 | 4.1645 | -2.273 | 0.0447 | 5946 | 3.7508 | 2.8381 | 1.7081 | 0.37751 | 1.2308 | 0.12431 | 12.2513 | 0.24748 | 86.6433 | 0.31957 | 30.7508 | 6.4248e-15 | 1.9768e-15 | 170.9986 | 167.9925 | 167.631 | 85.7454 | 96.108 | 94.5789 | 335.7088 | 0.1528 | 14.309 | 9.0165 | 10060.8911 | 262.6889 | 16.6913 | -1.4048 | -1.1553 | 6.0395 | 0.54878 | 2.3847 | 124.0188 | -22.447 | 1.7745 | 4.6496 | -0.877 | 0.0337 | 4426 | 4.1404 | 2.562 | 1.5658 | 0.44699 | 1.1553 | 0.11668 | 12.5577 | 0.25367 | 81.6684 | 0.37491
5489 | profile |  |  |  | 1429 | 20.424 | 37.4716 |  |  | 5.71 | 5.51 | B5489 |  | 60 | 52.2 | 7.8 | 6 | *** | *** | 66 | 52.2 | 13.8 |  |  | 14 | 30 | 49 | 14 | 33 | 0 | 5.5035 | 9.04 | 21658.6212 | 19.2914 | 23.8371 | 46.2 | 20.2532 | 132 | [81 empty] | 25.7382 | 1.2767e-14 | 5.8156e-16 | 153.5569 | 153.1771 | 151.5284 | 97.8065 | 98.0405 | 98.0299 | 0 | 0 | 0 | 9.9334 | 6.0322 | 279.5248 | 7.9454 | 0.13588 | -0.37268 | 4.0543 | -0.073541 | 1.5521 | 95.6853 | -9.6084 | -1.159 | 2.4007 | -2.273 | 0.0447 | 1406 | 2.8324 | 2.0222 | 1.2534 | 0.3172 | 0.37268 | 0.037641 | 6.7759 | 0.13687 | 61.5039 | 0.2509 | 25.5488 | -4.1982e-16 | 4.8648e-15 | 159.6976 | 156.7923 | 156.2413 | 87.2286 | 97.8015 | 96.071 | 325.9959 | -1.8889 | 7.5262 | 9.0396 | 9971.2204 | 277.0452 | 9.1157 | 0.17237 | -0.40516 | 3.5521 | 0.24276 | 1.2626 | 84.7759 | -9.0822 | -1.0491 | 1.8753 | -0.877 | 0.0337 | 1098 | 3.0969 | 1.8938 | 1.1371 | 0.28951 | 0.40516 | 0.040921 | 6.9652 | 0.1407 | 57.6525 | 0.22121
[11 empty] | 3.65 | M5489 |  | 45.6 | 38.9 | 6.7 | 3.6 | *** | *** | 49.2 | 38.9 | 10.3 |  |  | 14 | 33 | 23 | 14 | 35 | 32 | 3.6592 | 9.0377 | 21637.5615 | 19.2725 | 18.3354 | 46.2 | 20.2338 | 130 | [81 empty] | 32.654 | -7.2251e-15 | 8.8662e-15 | 147.2472 | 146.9156 | 144.8164 | 97.9566 | 97.5217 | 97.0802 | 0 | 0 | 0 | 9.9299 | 4.1509 | 262.6028 | 5.727 | -1.0583 | -1.5392 | 8.7899 | -0.10466 | 4.5217 | 71.8386 | -1.1446 | 0.50969 | 1.9705 | -2.273 | 0.0447 | 1683 | 2.4263 | 2.975 | 2.1289 | 0.38012 | 1.5392 | 0.15546 | 9.5193 | 0.19229 | 49.1856 | 0.2743 | 31.8061 | -5.3943e-15 | -1.1743e-16 | 149.699 | 146.7773 | 146.6126 | 88.2316 | 94.1044 | 90.1574 | 340.7579 | 8.9186 | -2.4486 | 9.0279 | 7455.9739 | 260.7953 | 7.4725 | -0.68598 | -2.2693 | 7.7353 | 1.0198 | 4.48 | 60.7594 | -1.5735 | 0.42573 | 2.2608 | -0.877 | 0.0337 | 1226 | 2.8391 | 2.785 | 2.1172 | 0.55468 | 2.2693 | 0.2292 | 9.8439 | 0.19885 | 38.4759 | 0.3721
[11 empty] | 1.83 | T5489 |  | 43.3 | 34.4 | 8.9 | 2.4 | *** | *** | 45.7 | 34.4 | 11.3 | 18.92 | 2.71 | 14 | 36 | 2 | 14 | 38 | 53 | 1.8257 | 9.0438 | 21595.6337 | 19.2269 | 14.4558 | 46.3 | 20.1902 | 172 | [81 empty] | 37.8775 | -4.5393e-15 | -3.0018e-15 | 141.4395 | 141.4053 | 139.4207 | 97.7883 | 97.0666 | 97.1481 | 0 | 0 | 0 | 9.9323 | 2.2719 | 287.8524 | 4.4008 | -0.61394 | -0.86072 | 9.6308 | 0.57539 | 1.9138 | 56.1766 | -2.1997 | 3.4486 | 2.515 | -2.273 | 0.0447 | 2282 | 2.1113 | 4.6884 | 1.446 | 0.69519 | 0.86072 | 0.086933 | 7.9727 | 0.16105 | 34.9144 | 0.44769 | 36.5664 | 1.2528e-14 | 2.7913e-16 | 142.3636 | 139.6375 | 139.4754 | 86.9027 | 88.2675 | 95.6584 | 314.4541 | 7.8131 | 1.6952 | 9.025 | 5171.0388 | 286.9684 | 6.3614 | -0.93619 | -0.9526 | 9.3017 | -0.46017 | 2.1983 | 47.8086 | -3.2287 | 3.5976 | 1.9412 | -0.877 | 0.0337 | 1727 | 2.5457 | 4.852 | 1.5041 | 0.69804 | 0.9526 | 0.096212 | 8.9307 | 0.1804 | 30.0511 | 0.40603 | 1.8062 | 0.009522
5490 | bottom |  |  |  | 1440 | 20.4247 | 37.4712 |  |  | 5.71 | 5.54 | B5490 |  | 53.3 | 45.6 | 7.8 | 3.8 | *** | *** | 57.1 | 45.6 | 11.5 |  |  | 14 | 42 | 3 | 14 | 51 | 9 | 5.5487 | 9.0345 | 21559.6654 | 19.1962 | 26.3004 | 46.3779 | 20.1617 | 547 | 5.18 | 2.56 | 2.26 | 2.03 | 1.9 | 2 | 2.42 | 2.86 | 3.11 | 3.75 | 4.3 | 4.37 | 4.62 | 4.89 | 5.77 | 6.46 | 6.96 | 7.73 | 8.92 | 10.01 | 11.53 | 13.23 | 15.2 | 16.99 | 18.49 | 20.46 | 22.09 | 23.51 | 23.12 | 20.86 | 19.07 | 18.67 | 19.2 | 0.33 | 0 | 9.46 | 86.93 | 242.43 | 329.36 | 29.63 | 134.96 | 312.45 | 14.14 | 10.59 | 8.06 | 6.38 | 5.7 | 5.84 | 5.85 | 5.39 | 5.5 | 5.35 | 4.61 | 4.13 | 3.71 | 3.71 | 3.51 | 3.21 | 3.02 | 2.95 | 2.81 | 2.74 | 2.67 | 2.59 | 2.46 | 2.27 | 2.13 | 1.94 | 1.75 | 1.46 | 1.12 | 0.87 | 0.72 | 0.63 | 127.79 | 9.99 | 22.34 |  | 21.44 | 0.9 |  | 23.1375 | -1.7229e-14 | -1.2287e-15 | 152.0934 | 151.8277 | 149.8616 | 97.8039 | 98.1927 | 98.1178 | 0 | 0 | 0 | 9.9225 | 6.0892 | 282.0668 | 8.2391 | 0.59432 | -0.66727 | 4.6734 | 0.20333 | 1.7318 | 89.5058 | -7.1822 | -1.278 | 2.573 | -2.273 | 0.0447 | 6554 | 2.9188 | 2.1657 | 1.3208 | 0.37018 | 0.66727 | 0.067394 | 7.3222 | 0.14791 | 56.244 | 0.28746 | 22.9875 | 1.0806e-14 | 3.9601e-15 | 157.6143 | 154.4252 | 154.2096 | 87.2049 | 96.5179 | 94.7148 | 325.7796 | -3.565 | 4.2221 | 9.0206 | 10016.4799 | 278.5695 | 9.62 | 0.50853 | -0.26017 | 4.3394 | 0.48696 | 1.3924 | 78.876 | -9.5385 | -0.60696 | 2.165 | -0.877 | 0.0337 | 5501 | 3.1314 | 2.0936 | 1.1943 | 0.36772 | 0.26017 | 0.026278 | 7.6759 | 0.15505 | 49.8192 | 0.27448
5491 | profile |  |  |  | 1530 | 20.4278 | 37.4759 |  |  | 5.69 | 4.96 | B5491 |  | 57.8 | 52.2 | 5.6 | 1.4 | *** | *** | 59.2 | 52.2 | 7 |  |  | 15 | 30 | 23 | 15 | 32 | 46 | 4.9515 | 8.99 | 21369.25 | 19.0346 | 22.6222 | 46.8 | 20.0087 | 144 | 4.67 | 3.9 | 3.15 | 2.53 | 2.13 | 2.18 | 2.77 | 3.41 | 3.6 | 4.3 | 4.96 | 4.87 | 5.11 | 5.28 | 6.02 | 6.58 | 6.78 | 7.25 | 7.94 | 8.43 | 9.16 | 9.93 | 10.8 | 11.23 | 11.42 | 12.14 | 13.39 | 14.63 | 15.71 | 15.28 | 15.26 | 14.76 | 14.91 | 0.32 | -6.6513e-05 | 9.37 | 91.17 | 168.6 | 259.77 | 18.11 | 117.18 | 301.96 | 21.53 | 14.76 | 10.02 | 7.17 | 6.2 | 6.68 | 6.98 | 6.23 | 6.31 | 6.17 | 5.13 | 4.57 | 4 | 3.86 | 3.58 | 3.12 | 2.83 | 2.63 | 2.36 | 2.18 | 2 | 1.84 | 1.62 | 1.4 | 1.26 | 1.18 | 1.09 | 0.99 | 0.82 | 0.69 | 0.57 | 0.49 | 140.28 | 7.41 | 22.74 | 16 | 22.62 | 0.12 |  | 11.5205 | -1.2016e-14 | -2.909e-16 | 138.0723 | 138.0152 | 135.8313 | 98.0032 | 97.7172 | 96.9588 | 0 | 0 | 0 | 9.8682 | 5.4624 | 229.2743 | 10.5704 | -2.3882 | -13.8115 | 16.8835 | 19.6266 | 55.7258 | 47.9922 | -1.1821 | -0.28793 | 1.8333 | -2.273 | 0.0447 | 1577 | 3.3442 | 5.5897 | 7.4998 | 0.65493 | 13.8115 | 1.395 | 41.5898 | 0.84011 | 32.8943 | 0.382 | 11.9284 | -5.3885e-15 | -1.8778e-16 | 137.8423 | 135.4604 | 134.8858 | 90.8321 | 91.4629 | 91.1049 | 114.7095 | 10.9038 | -1.776 | 8.9791 | 9084.3035 | 229.507 | 12.2345 | -1.9148 | -12.3488 | 13.3206 | 20.1612 | 70.7723 | 40.9989 | -0.58274 | 0.53131 | 2.211 | -0.877 | 0.0337 | 1173 | 3.612 | 5.5397 | 8.4152 | 1.0529 | 12.3488 | 1.2472 | 48.1637 | 0.97291 | 30.3906 | 0.53929
[11 empty] | 3.35 | M5491 |  | 36.7 | 30 | 6.7 | 0.80* | *** | *** | 36.7 | 30 | 6.7 |  |  | 15 | 32 | 57 | 15 | 34 | 43 | 3.3444 | 8.9804 | 21327.1589 | 19 | 18.0841 | 46.8953 | 19.9738 | 107 | 3.0493 | 2.73 | 2.23 | 1.81 | 1.54 | 1.57 | 2 | 2.48 | 2.65 | 3.2 | 3.71 | 3.64 | 3.77 | 3.84 | 4.3 | 4.58 | 4.63 | 4.84 | 5.18 | 5.4 | 5.78 | 6.26 | 6.88 | 7.33 | 7.49 | 8.01 | 8.83 | 9.8 | 10.3 | 9.45 | 8.64 | 7.83 | 7.45 | 0.41 | -6.359e-05 | 9.37 | 64.09 | 104.06 | 168.15 | 15.04 | 98.54 | 285.58 | 15.09 | 10.45 | 7.16 | 5.17 | 4.48 | 4.82 | 5.06 | 4.6 | 4.7 | 4.62 | 3.84 | 3.37 | 2.91 | 2.76 | 2.49 | 2.13 | 1.89 | 1.71 | 1.51 | 1.37 | 1.26 | 1.17 | 1.06 | 0.92 | 0.83 | 0.78 | 0.73 | 0.65 | 0.51 | 0.39 | 0.3 | 0.24 | 98.99 | 7.31 | 17.82 | 15 | 15.92 | 1.9 |  | 14.4812 | -6.3141e-15 | -1.6403e-15 | 132.861 | 132.7362 | 130.8065 | 98.0908 | 97.6248 | 96.4992 | 0 | 0 | 0 | 9.8732 | 3.826 | 256.2013 | 6.74 | -1.9426 | -6.6451 | 8.6249 | 5.3912 | 25.5294 | 38.128 | -1.037 | 1.2239 | 1.1567 | -2.273 | 0.0447 | 1266 | 2.6558 | 3.345 | 5.0601 | 0.63809 | 6.6451 | 0.67115 | 20.4471 | 0.41303 | 25.917 | 0.30338 | 14.1425 | -6.3592e-16 | -2.3366e-16 | 131.4234 | 128.9515 | 128.687 | 92.314 | 93.7888 | 92.8953 | 248.4536 | 10.6453 | -1.3519 | 8.9789 | 7051.981 | 253.0497 | 7.4339 | -1.4806 | -7.1869 | 10.1969 | 5.7286 | 31.7645 | 33.0981 | 0.053308 | 1.3328 | -0.66282 | -0.877 | 0.0337 | 1051 | 2.8748 | 3.4207 | 5.6363 | -0.50604 | 7.1869 | 0.72588 | 24.6977 | 0.49889 | 24.2755 | -0.20026
[11 empty] | 1.92 | T5491 |  | 32 | 26 | 6 | 0.60* | *** | *** | 32 | 26 | 6 | 22.82 | 2.62 | 15 | 35 | 7 | 15 | 37 | 29 | 1.911 | 8.9594 | 21222.3497 | 18.911 | 13.0643 | 47.1 | 19.8903 | 143 | 1.6194 | 2.02 | 1.65 | 1.32 | 1.12 | 1.14 | 1.45 | 1.82 | 1.97 | 2.38 | 2.78 | 2.74 | 2.84 | 2.88 | 3.17 | 3.34 | 3.31 | 3.39 | 3.54 | 3.6 | 3.76 | 3.97 | 4.28 | 4.49 | 4.58 | 4.95 | 5.57 | 6.24 | 6.67 | 6.25 | 5.77 | 5.06 | 4.51 | 0.5 | -6.5358e-05 | 9.36 | 46.47 | 66.11 | 112.58 | 13.45 | 89.12 | 280.14 | 11.17 | 7.71 | 5.25 | 3.76 | 3.25 | 3.51 | 3.72 | 3.41 | 3.5 | 3.46 | 2.89 | 2.54 | 2.18 | 2.03 | 1.81 | 1.53 | 1.33 | 1.17 | 1.01 | 0.89 | 0.8 | 0.73 | 0.65 | 0.56 | 0.51 | 0.49 | 0.47 | 0.42 | 0.33 | 0.26 | 0.19 | 0.15 | 71.69 | 7.14 | 14 | 17 | 11.47 | 2.53 |  | 15.6681 | -4.1469e-16 | -7.2223e-16 | 129.2028 | 129.2964 | 127.5657 | 98.0382 | 97.426 | 96.1745 | 0 | 0 | 0 | 9.8776 | 2.366 | 263.8804 | 6.6435 | -0.55528 | -6.1846 | 7.2247 | 4.6707 | 27.0987 | 32.6673 | -0.11147 | -0.046593 | 0.20138 | -2.273 | 0.0447 | 1805 | 2.6032 | 2.9803 | 5.2057 | 0.15898 | 6.1846 | 0.62464 | 20.4835 | 0.41377 | 22.3293 | 0.061647 | 15.0691 | 4.0526e-15 | -1.076e-16 | 126.617 | 124.6915 | 124.4891 | 91.8939 | 93.2137 | 92.5071 | 343.7975 | 10.5467 | -0.95704 | 8.9611 | 5241.1136 | 262.1929 | 8.457 | -0.8621 | -6.3599 | 6.2045 | 6.0174 | 36.552 | 28.515 | 0.22533 | -0.51417 | -0.6881 | -0.877 | 0.0337 | 1329 | 2.9276 | 2.8714 | 6.0475 | -0.80811 | 6.3599 | 0.64235 | 25.6067 | 0.51726 | 19.6099 | -0.24131 | 2.0439 | 0.054923