## 1006_ws6Analysis
Field_flag | PTV_flag | PIV_flag | file_ptv | file_piv | temp | salinity | comment | id | tc | depth_m | distance_upr
1 | 1 | 0 | ptv_20160413102857.mat | piv_20160413102857.mat | 12.699 | 14.792 | video bad, PIV very turbulent, esp at beginning | B5607 | 30 | 5.9 | 30
1 | 1 | 1 | ptv_20160413102928.mat | piv_20160413102928.mat | 12.699 | 14.792 | video good | B5607 | 60 | 5.9 | 30
1 | 1 | 1 | ptv_20160413102959.mat | piv_20160413102959.mat | 12.699 | 14.792 | video good | B5607 | 90 | 5.9 | 30
1 | 1 | 0 | ptv_20160413103156.mat | piv_20160413103156.mat | 12.798 | 13.677 | video bad, PIV turbulent | M5607 | 30 | 2.4 | 30
1 | 1 | 0 | ptv_20160413103230.mat | piv_20160413103230.mat | 12.798 | 13.677 | video bad, PIV turbulent | M5607 | 60 | 2.4 | 30
1 | 1 | 1 | ptv_20160413103303.mat | piv_20160413103303.mat | 12.798 | 13.677 | video marginal, PIV turbulent at beginning, gets better | M5607 | 90 | 2.4 | 30
1 | 1 | 1 | ptv_20160413103433.mat | piv_20160413103433.mat | 12.882 | 13.596 | video good | T5607 | 30 | 1.27 | 30
1 | 1 | 1 | ptv_20160413103504.mat | piv_20160413103504.mat | 12.882 | 13.596 | video marginal, PIV turbulent at beginning, gets better | T5607 | 60 | 1.27 | 30
1 | 1 | 1 | ptv_20160413103541.mat | piv_20160413103541.mat | 12.882 | 13.596 | video good, PIV turbulent at beginning, gets better | T5607 | 90 | 1.28 | 30
1 | 1 | 1 | ptv_20160413115547.mat | piv_20160413115547.mat | 12.717 | 15.673 | video good, PIV turbulent at beginning, gets better | B5608 | 30 | 6.128 | 30
1 | 1 | 0 | ptv_20160413115618.mat | piv_20160413115618.mat | 12.717 | 15.673 | video bad, too much PIV, getting confused | B5608 | 60 | 6.128 | 30
1 | 1 | 0 | ptv_20160413115651.mat | piv_20160413115651.mat | 12.717 | 15.673 | video bad, too much PIV, getting confused | B5608 | 90 | 6.128 | 30
1 | 1 | 1 | ptv_20160413115823.mat | piv_20160413115823.mat | 12.987 | 14.719 | video marginal, PIV turbulent at beginning, gets better | M5608 | 30 | 3.6 | 30
1 | 1 | 0 | ptv_20160413115927.mat | piv_20160413115927.mat | 12.987 | 14.719 | video bad, PIV turbulent | M5608 | 60 | 3.6 | 30
1 | 1 | 1 | ptv_20160413120233.mat | piv_20160413120233.mat | 12.882 | 13.596 | video marginal, PIV turbulent at beginning, see circulation in video | T5608 | 30 | 1.86 | 30
1 | 1 | 1 | ptv_20160413120305.mat | piv_20160413120305.mat | 12.882 | 13.596 | video marginal, see circulation in video | T5608 | 60 | 1.86 | 30
1 | 1 | 1 | ptv_20160413120344.mat | piv_20160413120344.mat | 12.882 | 13.596 | video marginal, see circulation in video | T5608 | 90 | 1.86 | 30
1 | 1 | 0 | ptv_20160413120426.mat | piv_20160413120426.mat | 12.882 | 13.596 | video poor, opposing flow in tube | T5608 | 120 | 1.86 | 30
1 | 1 | 1 | ptv_20160413120845.mat | piv_20160413120845.mat | 12.753 | 15.483 | video marginal, PIV turbulent at beginning, gets better | B5609 | 30 | 6.03 | 30
1 | 1 | 1 | ptv_20160413120950.mat | piv_20160413120950.mat | 12.753 | 15.483 | video marginal, a lot of PIV, confused at beginning, but gets better | B5609 | 60 | 6.03 | 30
1 | 1 | 0 | ptv_20160413121025.mat | piv_20160413121025.mat | 12.753 | 15.483 | video bad, too much PIV, getting confused | B5609 | 90 | 6.03 | 30
1 | 1 | 1 | ptv_20160413125147.mat | piv_20160413125147.mat | 12.726 | 15.395 | video good | B5610 | 30 | 6.32 | 30
1 | 1 | 1 | ptv_20160413125219.mat | piv_20160413125219.mat | 12.726 | 15.395 | video good | B5610 | 60 | 6.32 | 30
1 | 1 | 1 | ptv_20160413125250.mat | piv_20160413125250.mat | 12.726 | 15.395 | video good | B5610 | 90 | 6.32 | 30
1 | 1 | 1 | ptv_20160413125618.mat | piv_20160413125618.mat | 13.01 | 15.062 | video moderate, see ciruculate in tube | M5610 | 30 | 3.8 | 30
1 | 1 | 0 | ptv_20160413125657.mat | piv_20160413125657.mat | 13.01 | 15.062 | video poor, opposing flow in tube | M5610 | 60 | 3.8 | 30
1 | 1 | 1 | ptv_20160413125831.mat | piv_20160413125831.mat | 13.313 | 14.827 | video moderate, PIV turbulant at beginning, gets better | T5610 | 30 | 2.28 | 30
1 | 1 | 1 | ptv_20160413125903.mat | piv_20160413125903.mat | 13.313 | 14.827 | video good | T5610 | 60 | 2.28 | 30
1 | 1 | 1 | ptv_20160413125934.mat | piv_20160413125934.mat | 13.313 | 14.827 | video good | T5610 | 90 | 2.28 | 30
1 | 1 | 1 | ptv_20160413130217.mat | piv_20160413130217.mat | 12.819 | 15.241 | video ,moderate, too much PIV, confused at beginning, but then becomes better | B5611 | 30 | 6.34 | 30
1 | 1 | 1 | ptv_20160413130248.mat | piv_20160413130248.mat | 12.819 | 15.241 | video good | B5611 | 60 | 6.34 | 30
1 | 1 | 1 | ptv_20160413130330.mat | piv_20160413130330.mat | 12.819 | 15.241 | video good | B5611 | 90 | 6.34 | 30
1 | 1 | 1 | ptv_20160413134730.mat | piv_20160413134730.mat | 12.814 | 15.786 | video moderate, PIV a little turbulent at beginning | B5612 | 30 | 6.49 | 30
1 | 1 | 0 | ptv_20160413134807.mat | piv_20160413134807.mat | 12.814 | 15.786 | video bad, too much PIV, getting confused | B5612 | 60 | 6.49 | 30
1 | 1 | 1 | ptv_20160413134842.mat | piv_20160413134842.mat | 12.814 | 15.786 | video moderate, good at beginning, bidirectional flow at end | B5612 | 90 | 6.49 | 30
1 | 1 | 1 | ptv_20160413135018.mat | piv_20160413135018.mat | 12.919 | 15.823 | video moderate, PIV turbulant at beginning, gets better | M5612 | 30 | 4.6 | 30
1 | 1 | 1 | ptv_20160413135049.mat | piv_20160413135049.mat | 12.919 | 15.823 | video good | M5612 | 60 | 4.6 | 30
1 | 1 | 0 | ptv_20160413135230.mat | piv_20160413135230.mat | 13.498 | 15.802 | video bad, turbulent at beginingg, gets slightly better at the end | T5612 | 30 | 1.62 | 30
1 | 1 | 1 | ptv_20160413135306.mat | piv_20160413135306.mat | 13.498 | 15.802 | video good | T5612 | 60 | 1.62 | 30
1 | 1 | 1 | ptv_20160413135605.mat | piv_20160413135605.mat | 12.934 | 15.914 | video good | B5613 | 30 | 6.5 | 30
1 | 1 | 1 | ptv_20160413135637.mat | piv_20160413135637.mat | 12.934 | 15.914 | video good | B5613 | 60 | 6.5 | 30
1 | 1 | 1 | ptv_20160413135709.mat | piv_20160413135709.mat | 12.934 | 15.914 | video good | B5613 | 90 | 6.5 | 30
1 | 1 | 0 | ptv_20160413144411.mat | piv_20160413144411.mat | 12.726 | 16.862 | video moderate, a lot of PIV, gets a little confused in middle | B5614 | 30 | 6.5 | 30
1 | 1 | 1 | ptv_20160413144442.mat | piv_20160413144442.mat | 12.726 | 16.862 | video good | B5614 | 60 | 6.5 | 30
1 | 1 | 1 | ptv_20160413144514.mat | piv_20160413144514.mat | 12.726 | 16.862 | video good | B5614 | 90 | 6.5 | 30
1 | 1 | 0 | ptv_20160413144646.mat | piv_20160413144646.mat | 13.198 | 15.854 | video bad, PIV turbulent | M5614 | 30 | 2.9 | 30
1 | 1 | 0 | ptv_20160413144719.mat | piv_20160413144719.mat | 13.198 | 15.854 | video bad, PIV turbulent | M5614 | 60 | 2.9 | 30
1 | 1 | 1 | ptv_20160413144835.mat | piv_20160413144835.mat | 13.289 | 15.961 | video moderate | T5614 | 30 | 1.3 | 30
1 | 1 | 1 | ptv_20160413144906.mat | piv_20160413144906.mat | 13.289 | 15.961 | video good | T5614 | 60 | 1.3 | 30
1 | 1 | 1 | ptv_20160413144938.mat | piv_20160413144938.mat | 13.289 | 15.961 | video good | T5614 | 90 | 1.3 | 30
1 | 1 | 0 | ptv_20160413145343.mat | piv_20160413145343.mat | 12.53 | 17.372 | video bad, PIV turbulent | B5615 | 30 | 6.5 | 30
1 | 1 | 1 | ptv_20160413145421.mat | piv_20160413145421.mat | 12.53 | 17.372 | video good | B5615 | 60 | 6.5 | 30
1 | 1 | 1 | ptv_20160413145452.mat | piv_20160413145452.mat | 12.53 | 17.372 | video good | B5615 | 90 | 6.5 | 30
1 | 1 | 1 | ptv_20160413145531.mat | piv_20160413145531.mat | 12.53 | 17.372 | video good | B5615 | 120 | 6.5 | 30
1 | 1 | 1 | ptv_20160413154237.mat | piv_20160413154237.mat | 12.362 | 18.44 | video good | B5616 | 30 | 6.4 | 30
1 | 1 | 1 | ptv_20160413154308.mat | piv_20160413154308.mat | 12.362 | 18.44 | video good | B5616 | 60 | 6.4 | 30
1 | 1 | 1 | ptv_20160413154342.mat | piv_20160413154342.mat | 12.362 | 18.44 | video good | B5616 | 90 | 6.4 | 30
1 | 1 | 1 | ptv_20160413154506.mat | piv_20160413154506.mat | 12.666 | 17.499 | video moderate, PIV slightly turbulent | M5616 | 30 | 4.66 | 30
1 | 1 | 1 | ptv_20160413154538.mat | piv_20160413154538.mat | 12.666 | 17.499 | video moderate, PIV slightly turbulent | M5616 | 60 | 4.66 | 30
1 | 1 | 0 | ptv_20160413154655.mat | piv_20160413154655.mat | 13.568 | 16.456 | video bad, PIV turbulent | T5616 | 30 | 1.48 | 30
1 | 1 | 0 | ptv_20160413154726.mat | piv_20160413154726.mat | 13.568 | 16.456 | video bad, PIV turbulent | T5616 | 60 | 1.48 | 30
1 | 1 | 1 | ptv_20160413154758.mat | piv_20160413154758.mat | 13.568 | 16.456 | video moderate, PIV slightly turbulent | T5616 | 90 | 1.48
Note on A1: Kelsey Fall: Field Flag (i.e. No PTV/PIV)
Note on B1: Kelsey Fall: PTV Flag- No PTV, no analysis
Note on C1: Kelsey Fall: PIV flag: bad PIV but still good PTV
Note on F1: Kelsey A. Fall: From Profiler CTD
Note on G1: Kelsey A. Fall: From profiler CTD

## Top
Field_flag | PTV_flag | PIV_flag | file_ptv | file_piv | temp | salinity | comment | id | tc | depth_m | distance_upr
1 | 1 | 1 | ptv_20160413103433.mat | piv_20160413103433.mat | 12.882 | 13.596 | video good | T5607 | 30 | 1.27 | 30
1 | 1 | 1 | ptv_20160413103504.mat | piv_20160413103504.mat | 12.882 | 13.596 | video marginal, PIV turbulent at beginning, gets better | T5607 | 60 | 1.27 | 30
1 | 1 | 1 | ptv_20160413103541.mat | piv_20160413103541.mat | 12.882 | 13.596 | video good, PIV turbulent at beginning, gets better | T5607 | 90 | 1.28 | 30
1 | 1 | 1 | ptv_20160413120233.mat | piv_20160413120233.mat | 12.882 | 13.596 | video marginal, PIV turbulent at beginning, see circulation in video | T5608 | 30 | 1.86 | 30
1 | 1 | 1 | ptv_20160413120305.mat | piv_20160413120305.mat | 12.882 | 13.596 | video marginal, see circulation in video | T5608 | 60 | 1.86 | 30
1 | 1 | 1 | ptv_20160413120344.mat | piv_20160413120344.mat | 12.882 | 13.596 | video marginal, see circulation in video | T5608 | 90 | 1.86 | 30
1 | 1 | 1 | ptv_20160413125831.mat | piv_20160413125831.mat | 13.313 | 14.827 | video moderate, PIV turbulant at beginning, gets better | T5610 | 30 | 2.28 | 30
1 | 1 | 1 | ptv_20160413125903.mat | piv_20160413125903.mat | 13.313 | 14.827 | video good | T5610 | 60 | 2.28 | 30
1 | 1 | 1 | ptv_20160413125934.mat | piv_20160413125934.mat | 13.313 | 14.827 | video good | T5610 | 90 | 2.28 | 30
1 | 1 | 1 | ptv_20160413135306.mat | piv_20160413135306.mat | 13.498 | 15.802 | video good | T5612 | 60 | 1.62 | 30
1 | 1 | 1 | ptv_20160413144835.mat | piv_20160413144835.mat | 13.289 | 15.961 | video moderate | T5614 | 30 | 1.3 | 30
1 | 1 | 1 | ptv_20160413144906.mat | piv_20160413144906.mat | 13.289 | 15.961 | video good | T5614 | 60 | 1.3 | 30
1 | 1 | 1 | ptv_20160413144938.mat | piv_20160413144938.mat | 13.289 | 15.961 | video good | T5614 | 90 | 1.3 | 30
1 | 1 | 1 | ptv_20160413154758.mat | piv_20160413154758.mat | 13.568 | 16.456 | video moderate, PIV slightly turbulent | T5616 | 90 | 1.48
Note on A1: Kelsey Fall: Field Flag (i.e. No PTV/PIV)
Note on B1: Kelsey Fall: PTV Flag- No PTV, no analysis
Note on C1: Kelsey Fall: PIV flag: bad PIV but still good PTV
Note on F1: Kelsey A. Fall: From Profiler CTD
Note on G1: Kelsey A. Fall: From profiler CTD