## Slide 1
6/9 Cruises could be reprocessed using the random shape matrix

## Slide 2
Mean LISST Volume Concentration from Spherical Inversion vs. Random Shape Inversion for size class bins with midpoint sizes of ~74-280 μm
Sphere VCLISST over 74-280 μm ( μL/L)
Random Shape VCLISST over 74-280 μm ( μL/L)
100
10
1
0.1
0.1 1 10 100
Does not include September 2014 (do not have raw data files to process with Random Shape)

## Slide 3
Compare total volume concentration (VCT), median particle size (d50V) and apparent density (ρa)
Does not include September 2014 (do not have raw data files to process with Random Shape)
LISST Total Volume Concentration, VCT, μL/L
50 100 150 200
50
100
150
200
Random Shape, VCT, μL/L
Sphere, VCT, μL/L
Random Shape, d50V, μm
20
60
80
100
40
20 40 60 80 100
Sphere, d50V, μm
LISST Median Particle size, d50V, μm
LISST Apparent Density, ρa, kg/m3
Random Shape, ρa, kg/m3
Sphere, ρa, kg/m3
200 300 400 500 600
200
300
400
500
600

## Slide 4
Sphere
Mean Volume Concentration Distribution from LISST100X Type B (Deployed) and Type C (Profiler) from September 2016
LISST Type B (Deployed)
LISST Type C (Profiler)
Floc Size μm
10
1
0.1
10 100 1000
VCi μL/L
Floc Size μm
10 100 1000
1
0.1
0.01
10
Random
Mean Volume Concentration Distribution from LISST100X Type B (Deployed) and Type C (Profiler) from September 2016